# Part 1	General

# SECTION INCLUDES

      - Plumbing stacks and pipe flashing for mechanical penetrations.

# RELATED SECTIONS

      - Section 07 50 00 – Membrane Roofing

# REFERENCES

      - CSA-B272-93 (R2000) - Prefabricated Self-Sealing Roof Vent Flashings.

      - IAPMO PS 64 - Roof Pipe Flashing.

      - ASTM B209M - Aluminum Sheet.

      - CRCA (Canadian Roofing Contractors' Association)

      - NRCA (National Roofing Contractors' Association)

# ADMINISTRATIVE REQUIREMENTS

      - Section 01 31 00: Project management and coordination procedures.

      - Coordination:  Coordinate with roofing installation and other work having a direct bearing on work of this section.

      - Pre-installation Meetings:  Convene [       	] weeks] before starting work of this section.

# SUBMITTALS FOR REVIEW

      - Section 01 33 00: Submission procedures.

      - Product Data: Provide data on prefabricated components.

      - Shop Drawings:  Indicate locations, configurations, jointing methods, fastening methods, locations, and installation details.

# SUBMITTALS FOR INFORMATION

      - Section 01 33 00: Submission procedures.

      - Installation Data:  Manufacturer's special installation requirements.

# QUALITY ASSURANCE

      - Perform Work to [	] Manual standard details and requirements.

      - Installer Qualifications: Company specializing in performing the work of this section with minimum [three (3)] [	] years documented experience.

# DELIVERY, STORAGE, AND PROTECTION

      - Section 01 61 00: Transport, handle, store, and protect products.

      - Deliver, store and protect materials to manufacturer's instructions.

      - Prevent contact with materials which may cause discoloration or staining.

# WARRANTY

      - Section 01 78 10:  Warranties.

      - Manufacturer’s Limited Warranty: warrants products to be free of defects for a period of 10 years when installed in accordance with the manufacturer’s written instructions.

      - Contractor's Warranty:  Provide [___ (   )] year [warranty] on roofing, dated from time of Substantial Completion.  Not all provincial associations use the term "Certificate of Assurance"; edit accordingly.

# Part 2	Products

# MANUFACTURERS

      - Menzies Enterprises Limited, dba Menzies Metal Products.

Direct Phone:  604-530-0712 Toll Free Phone:  800-665-8840 Direct Fax: 604-530-8482

Internet:  www.menzies-metal.com

Email:  sales@menzies-metal.com

      - Substitutions:  [Not permitted] [Refer to Section 01 61 00].

# MATERIALS

      - Aluminum Sheet:  ASTM B209M (ASTM B209), heavy gauge; mill finish.

# FLASHING – PLUMBING

      - Pipe Flashing - Welded:  CSA-B272, aluminum pipe with welded, slotted flange for flat roof.

          - Pipe Size:  [32 mm (1-1/4 inch)] [38 mm (1-1/2 inch)] [50 mm (2 inch)] [75 mm (3 inch)] [100 mm (4 inch)] [125 mm (5 inch)] [150 mm (6 inch)].

      - Caps:

          - Aluminum Econo Caps:  Aluminum cap, to suit [32 mm (1-1/4 inch)] [38 mm (1- 1/2 inch)] [50 mm (2 inch)] [75 mm (3 inch)] [100 mm (4 inch)] [125 mm (5 inch)] [ 150 mm (6 inch)] pipe size.

          - Vandalproof Caps:  Pop-riveted vandal-proof cap, to suit [38 mm (1-1/2 inch)] [50 mm (2 inch)] [75 mm (3 inch)] [100 mm (4 inch)] [125 mm (5 inch)] pipe size.

# Part 3	Execution

# EXAMINATION

      - Section 01 70 00:  Verify existing conditions before starting work.

      - Verify that deck, curbs, roof membrane, base flashing, and other items affecting work of this Section are in place and positioned correctly.

# INSTALLATION

      - Install flashing components to manufacturer instructions.

      - Coordinate installation of components of this section with installation of roofing membrane and base flashings.

      - Coordinate installation of sealants and roofing cement with work of this section to ensure water tightness.

      - Coordinate installation of flashing flanges with roofing membrane.

# Cleaning

      - Do not use cleaning solutions, tools or techniques that may impact the performance of the product or the roofing system.

# END OF SECTION