## 3” Clamp-Tite™ ALUMINUM Box Scupper Drain

## SHORT spec

Specification: Menzies Clamp-Tite™ Aluminum Box Scupper Drain, two piece system. Use for overflow applications in parapets or sidewalls. Install as per manufacturers written instructions (located on website).  Manufactured by Menzies Metal Products (www.menzies-metal.com, 1-800-665-8840).

- Box size 4” square opening x 18” length (cut to appropriate wall thickness).

- Full 4” flange.

- Clamp-Tite™ aluminum membrane clamping system.

- 3” outlet drain box with overflow and cleanout to be screw attached to box at building exterior.

- Stainless steel fasteners.