# Part 1	General

# SECTION INCLUDES

      - Section 07 72 00 - Plastic Roof, Bathroom and Dryer Vents.

# RELATED SECTIONS

      - Section 07 31 13 - Asphalt Shingles

# REFERENCES

      - CAN3 A93-M82 (R2003) - Natural Airflow Ventilators for Buildings.

      - CRCA (Canadian Roofing Contractors' Association)

      - NRCA (National Roofing Contractors' Association)

# ADMINISTRATIVE REQUIREMENTS

      - Section 01 31 00: Project management and coordination procedures.

      - Coordination:  Coordinate with roofing installation and other work having a direct bearing on work of this section.

      - Pre-installation Meetings:  Convene [_____ (    ) weeks] before starting work of this section.

# SUBMITTALS FOR REVIEW

      - Section 01 33 00: Submission procedures.

      - Product Data: Provide component sizes, rough-in size requirements, and finishes.

      - Shop Drawings:  Indicate dimensions, weights, and placement of openings and holes.

# SUBMITTALS FOR INFORMATION

      - Section 01 33 00: Submission procedures.

      - Installation Data:  Manufacturer's special installation requirements.

# QUALITY ASSURANCE

      - Manufacturer Qualifications:  Company specializing in manufacturing the Products specified in this section with minimum [three (3)] [	] years experience.

# DELIVERY, STORAGE, AND PROTECTION

      - Section 01 61 00: Transport, handle, store, and protect products.

      - Deliver, store and protect materials to manufacturer's instructions.

      - Prevent contact with materials which may cause discoloration or staining.

      - Inspect for damage.

# WARRANTY

      - Section 01 78 10:  Warranties.

      - Manufacturer’s Limited Warranty: warrants products to be free of defects for a period of 10 years when installed in accordance with the manufacturer’s written instructions.

      - Contractor's Warranty:  Provide [________  (    )] year [warranty] on roofing, dated from time of Substantial Completion.   Not all provincial associations use the term "Certificate of Assurance"; edit accordingly.

# Part 2	Products

# MANUFACTURERS

      - Menzies Enterprises Ltd. dba Menzies Metal Products.

Direct Phone:  604-530-0712

Toll Free Phone:  800-665-8840 Direct Fax: 604-530-8482

Web:  www.menzies-metal.com

Email:  sales@menzies-metal.com

      - Substitutions:  [Not permitted] [Refer to Section 01 61 00].

# MATERIALS

      - HD Polyethylene.

# ROOF VENTS

      - Bathroom and Dryer Vents: Menzies UV456 Plastic Roof Vent, High impact, UV resistant plastic vent.

            - Size:  [100 mm (4 inch)] [125 mm (5 inch)] [150 mm (6 inch)] combination sizes.

            - Color:  [Black] [Dark Brown] [Light Brown] [Grey] [Wood Grey].

# Part 3	Execution

# PREPARATION

      - Verify shapes, dimensions and slope of surfaces to be covered before manufacture.

      - Verify that items affecting work of this Section are installed as per specifications and details to functions as intended.

      - Coordinate vent installation with adjacent material installation.

# INSTALLATION

      - Install roof vents to manufacturer's written instructions.

      - Anchor vents securely in place, using fasteners, sealants, and other miscellaneous items as required to complete venting systems.

      - Install plumb, true to line and elevation.

      - Provide uniform, neat seams with minimum exposure of sealant.

      - Install vents to fit substrates and provide watertight performance.

      - Reinstall any product that does not comply to ensure operation as intended.

# Cleaning

      - Do not use cleaning solutions, tools or techniques that may impact performance of the product or the roofing system.

# END OF SECTION