# Part  1	General

# SECTION INCLUDES

      - Scuppers

# RELATED SECTIONS

      - Section 07 50 00 - Membrane Roofing.

      - Section 22 10 00 - Plumbing Piping.

# REFERENCES

      - ASME A112.6.4-2003 - Roof, Deck and Balcony Drains.

      - ASTM B209M - Aluminum Sheet.

      - ASTM B272-93 (reaffirmed 2000) - Standard Specification for Copper Flat Products with Finished (Rolled or Drawn) Edges (Flat Wire and Strip).

      - ASTM B370-09 - Standard Specification for Copper Sheet and Strip for Building Construction.

      - CSA-B79-08 - Commercial and residential drains and cleanouts.

      - CRCA (Canadian Roofing Contractors Association)

      - NRCA (National Roofing Contractors' Association)

# ADMINISTRATIVE REQUIREMENTS

      - Section 01 31 00: Project management and coordination procedures.

      - Coordination:  Coordinate with roofing installation and other work having a direct bearing on work of this section.

      - Pre-installation Meetings:  Convene [  	] weeks] before starting work of this section

# SUBMITTALS FOR REVIEW

      - Section 01 33 00: Submission procedures.

      - Product Data: Provide component sizes, rough-in requirements, service sizes, and finishes.

      - Shop Drawings:  Indicate dimensions, weights, and placement of openings and holes.

# SUBMITTALS FOR INFORMATION

      - Section 01 33 00: Submission procedures.

      - Installation Data:  Manufacturer's special installation requirements including assembly and support requirements.

# CLOSEOUT SUBMITTAL

      - Section 01 78 10: Submission procedures.

      - Maintenance Data:  Include installation instructions, spare parts lists, and exploded assembly views.

      - Record Documentation:  Record actual locations of roof scuppers

# QUALITY ASSURANCE

      - Perform Work to [	         ] Manual standard details and requirements.

      - Installer Qualifications: Company specializing in performing the work of this section with minimum [three (3)] years documented experience.

# DELIVERY, STORAGE, AND PROTECTION

      - Section 01 61 00: Transport, handle, store, and protect products.

      - Deliver, store and protect materials to manufacturer's instructions

      - Inspect for damage.

# WARRANTY

      - Section 01 78 10:  Warranties.

      - Manufacturer’s Limited Warranty: warrants products to be free of defects for a period of 10 years when installed in accordance with the manufacturer’s written instructions.

      - Contractor's Warranty:  Provide [________  (    )] year [warranty] on roofing, dated from time of Substantial Completion.   Not all provincial associations use the term "Certificate of Assurance"; edit accordingly.

# Part  2	Products

# MANUFACTURERS

      - Menzies Enterprises Limited, dba Menzies Metal Products.

Direct Phone:  604-530-0712 Toll Free Phone:  800-665-8840 Direct Fax: 604-530-8482

Internet:  www.menzies-metal.com

Email:  sales@menzies-metal.com

      - Substitutions:  [Not permitted] [Refer to Section 01 61 00].

# MATERIAL

      - Die-Cast Aluminum:  ASTM B85/B85M, AA No. (ANSI) A360.0.

      - Copper Sheet:  ASTM B307, Copper alloy DHP C12200 sheet, [0.820 mm (0.032 inch)] thickness.

      - Stainless Steel.

      - TPO Direct Weld “Thermoplastic Olefin”.

# SCUPPERS

      - Clamp-Tite Overflow Drain: Copper scupper with 9” x 9” flange, 2.75” OD outlet pipe hot welded to flange; aluminum clamping collar secured with stainless steel fasteners; [TPO coated flange].

# Part  3	Execution

# EXAMINATION

      - Section 01 70 00:  Verify existing conditions before starting work.

      - Verify dimensions, tolerances, and method of attachment to membrane materials.

      - Verify that field measurements for drains are as indicated on Drawings.

      - Verify scupper openings and adjoining membrane materials are ready to receive work of this section.

# INSTALLATION

      - Install scuppers to manufacturer's written instructions.

# Cleaning

      - Do not use cleaning solutions, tools or techniques that may impact the performance of the product or the roofing system.

# END OF SECTION