# Part 1	GENERAL

# SECTION INCLUDES

      - Roof and floor drains.

# RELATED SECTIONS

      - Section 07 50 00 - Membrane Roofing.

      - Section 22 10 00 - Plumbing Piping.

# REFERENCES

      - ASME A112.6.4-2003 - Roof, Deck and Balcony Drains.

      - ASTM B85/B85M-10 - Standard Specification for Aluminum-Alloy Die Castings.

      - ASTM B272-93 (reaffirmed 2000) - Standard Specification for Copper Flat Products with Finished (Rolled or Drawn) Edges (Flat Wire and Strip).

      - ASTM B370-09 - Standard Specification for Copper Sheet and Strip for Building Construction.

      - CSA-B79-08 - Commercial and residential drains and cleanouts.

      - CRCA (Canadian Roofing Contractors Association)

      - NRCA (National Roofing Contractors' Association)

# ADMINISTRATIVE REQUIREMENTS

      - Section 01 31 00: Project management and coordination procedures.

      - Coordination:  Coordinate with roofing installation and other work having a direct bearing on work of this section

      - Pre-installation Meetings:  Convene [	weeks] before starting work of this section.

# SUBMITTALS FOR REVIEW

      - Section 01 33 00: Submission procedures.

      - Product Data: Provide component sizes, rough-in requirements, service sizes, and finishes.

      - Shop Drawings:  Indicate dimensions, weights, and placement of openings and holes.

# SUBMITTALS FOR INFORMATION

      - Section 01 33 00: Submission procedures.

      - Installation Data:  Manufacturer's special installation requirements including assembly and support requirements.

# CLOSEOUT SUBMITTALS

      - Section 01 78 10: Submission procedures.

      - Maintenance Data:  Include installation instructions, spare parts lists, and exploded assembly views.

      - Record Documentation:  Record actual locations of roof drains.

# QUALITY ASSURANCE

      - Perform Work to [	               ] Manual standard details and requirements.

      - Installer Qualifications: Company specializing in performing the work of this section with minimum [three (3)] years documented experience.

# DELIVERY, STORAGE, AND PROTECTION

      - Section 01 61 00: Transport, handle, store, and protect products.

      - Deliver, store and protect materials to manufacturer's instructions.

      - Inspect for damage.

# WARRANTY

      - Section 01 78 10:  Warranties.

      - Manufacturer’s Limited Warranty: warrants products to be free of defects for a period of 10 years when installed in accordance with the manufacturer’s written instructions.

      - Contractor's Warranty:  Provide [________  (    )] year [warranty] on roofing, dated from time of Substantial Completion.   Not all provincial associations use the term "Certificate of Assurance"; edit accordingly.

# Part 2	Products

# MANUFACTURERS

      - Menzies Enterprises Limited, dba Menzies Metal Products.

Direct Phone:  604-530-0712 Toll Free Phone:  800-665-8840 Direct Fax: 604-530-8482

Internet:  www.menzies-metal.com

Email:  sales@menzies-metal.com

      - Substitutions:  [Not permitted] [Refer to Section 01 61 00].

# MATERIALS

      - Die-Cast Aluminum:  ASTM B85/B85M, AA No. (ANSI) A360.0.

      - Copper Sheet:  ASTM B307, Copper alloy DHP C12200 sheet, [0.820 mm (0.032 inch)] thickness.

      - Stainless Steel.

# COPPER DRAINS

      - Clamp-tite Spun Copper Small Bowl Drain:  CSA-B79 and ASME A112.6.4, spun copper bowl and flange with hub, removable cast aluminum strainer, aluminum clamping ring and compression fit mounting ring.

        - Size:  To fit [50 mm (2 inches)] [75 mm (3 inches)] [100 mm (4 inches)] drain size.

        - Extension pipe length 12 inches.

# ACCESSORIES

      - Blue Drain Seal™:  Proprietary seal between male and female connection pipes, size [75 mm (3 inches)] [100 mm (4 inches)] [125 mm (5 inches)] [150 mm (6 inches)].

        - Blue Drain Seal Screwdriver:  600 mm (24 inch) long.

# Part 3	Execution

# EXAMINATION

      - Section 01 70 00:  Verify existing conditions before starting work.

      - Verify dimensions, tolerances, and method of attachment to membrane materials.

      - Verify that field measurements for drains are as [indicated on Drawings] [indicated on Shop Drawings] [instructed by the manufacturer].

# INSTALLATION

      - Install drain seal to manufacturer's written instructions.

# Cleaning

      - Do not use cleaning solutions, tools or techniques that may impact the performance of the product or the roofing system.

# END OF SECTION